## Microscopes
ID | Type | Brand | Model | Domain of activity | Camera | Fluorescence | Lens | Specific equipement | Responsible | Room | Year
1464 | Inverted microscope | ZEISS | Axiovert 200M | Cell culture | ZEISS AxioCam MRc / ZEISS AxioCam MRm | DAPI / FITC+YFP / Rhod / EGFP | 5X / 10X / 20X / 40X / 63X (x2) | Motorized stage | David Tarussio | 5039 | 2002
1536 | Upright microscope | LEICA | DM LS2 | Histology / Teaching | NO | NO | 4X / 10X / 20X / 40X | Dual head | Catherine Moret | 2013 | 2004
1538 | Inverted microscope | LEICA | DMi1 HC Bio | Cell culture | LEICA DFC 290 | NO | 4X / 10X / 20X / 40X | NO | David Tarussio, Xavier Bernet | 5038 | 2004
1639 | Stereo microscope | LEICA | MZ6 | General | LEICA DFC 320 | NO | 1X (0.63X-4X) | NO | Groupe Desvergne | 5010 | 2005
1910 | Inverted microscope | ZEISS | Axiovert 40 CFL | Cell culture | NO | GFP / RFP | 10X / 20X / 40X | NO | Jacqueline Chrast | 3046 | 2005
2019 | Inverted microscope | ZEISS | Axiovert 40 CFL | Cell culture | NO | GFP / RFP | 5X / 10X / 20X / 40X | NO | Philippe L'Hôte | 4038 | 2005
2522 | Inverted microscope | LEICA | DMI6000 B | Microinjection of drosophila embryos | LEICA DFC 350 FX | BGR / CFP / YFP / GFP / BLU | 5X / 10X / 20X (x2) / 40X / 63X | Motorized micromanipulators + Microinjector + Motorized stage | Pascal Cousin | 3008 | 2005
2526 | Inverted microscope | LEICA | DMI6000 B | Microinjection of drosophila embryos | KAPPA CF8/5 | GFP / L5 | 5X / 10X / 20X / 40X | Motorized micromanipulators + Microinjector + Motorized stage | Benton's group | 2013 | 2006
2528 | Stereo microscope | LEICA | MZ16 FA | General | LEICA DFC 300 FX | GFP2 / GFP3 => No UV lamp | 1X (0.71X-11.5X) | NO | Catherine Moret | 2013 | 2005
2702 | Upright microscope | LEICA | DM RXA2 | Mosaic microscopy of histologic slides | ITACHI HV-D20P | NO | 5X / 10X | Motorized stage | Catherine Moret | 2013 | 2006
2968 | Stereo microscope | WILD HEERBRUGG | M5 | General | NO | NO | 6X-50X | Swingarm stand | Benton's group | 2013 | ?
3152 | Slide scanner | NIKON | Coolscope | Mosaic microscopy of histologic slides | Integrated | NO | 5X, 10X, 20X, 40X (on CCD) | NO | David Tarussio | 5003.1 | 2005
3178 | Upright microscope | ZEISS | Axio Imager D1 | ICC / IHC / Histology | ZEISS AxioCam MRc / ZEISS AxioCam MRm | Rhod / FITC / Cy5 / DAPI | 10X / 20X / 40X (x2) / 63X / 100X | NO | David Tarussio | 2013 | 2005
3216 | Stereo microscope | LEICA | MZ16 | Drosophila / General | LEICA DFC 320 => Not working | NO | 0.8X (0.71X-11.5X) | Dual lighting (Top & bottom) | Pascal Cousin | 3008 | 2005
3266 | Stereo microscope | LEICA | MZ6 | Drosophila / General | NO | NO | 1X (0.63X-4X) | Dual lighting (Top & bottom) | Benton's group | 2013 | 2007
3552 | Upright microscope | ZEISS | Axio Imager M1 | ICC / IHC / Histology | ZEISS AxioCam MRc / ZEISS AxioCam MRm | Rhod / FITC / DAPI | 2.5X / 5X / 10X / 20X / 40X / 100X | Motorized stage | Catherine Moret | 2013 | 2006
3554 | Upright microscope | NIKON | ECLIPSE 90i | General / Quantification / Mosaic microscopy | NIKON DS-Fi1 | B-2A / G-2A / DAPI | 4X / 10X / 20X / 40X | Motorized stage | Catherine Moret | 2013 | 2006
3576 | Upright microscope | LEICA | DM1000 | General | LEICA DFC 295 | NO | 4X / 10X / 20X / 40X / 100X | Dual head | David Tarussio | 5022 | 2006
3598 | Stereo microscope | NIKON | SMZ1500 | Drosophila / Arabidopsis | NIKON D7000 | GFP | 1X (0.75X-11.25X) | CO2 pad for drosophila anesthesia | Martina Legris | 4003.1 | 2006
3612 | Inverted microscope | ZEISS | Axiovert 40 CFL | Cell culture | NO | GFP / RFP | 5X / 10X / 20X / 40X | NO | Philippe L'Hôte | 4037 | 2006
3628 | Upright microscope | LEICA | DM6000 B | General | LEICA DFC 350 FX | GFP / YFP / CFP / L5 / N3 / A4 / Y5 | 5X / 10X / 20X / 40X / 63X | Motorized stage | Martina Legris | 4003.1 | 2005
3635 | Upright microscope | NIKON | Eclipse FN1 | Single sensillum recordings in drosophila | NO | NO | 10X / 100X | Anti-vibration table + Manual micromanipulators + Odorized air flow controller + 4 channel acquisition controller | Benton's group | 3008 | 2006
3649 | Stereo microscope | LEICA | MZFLIII | General | LEICA DFC 300 FX | GFP / DsRed / Texas Red | 1X (0.8X-10X) | NO | Thorens' group | 5015 | 2006
3650 | Stereo microscope | LEICA | MZ95 | General | LEICA DFC 320 | NO | 0.5X (0.63X-6X) | NO | Catherine Moret | 2013 | 2006
3684 | Stereo microscope | LEICA | M60 | Mice surgery + Teaching | NO | NO | 1x (0.63X-4X) | Motorized stage + Dual head | Frédéric Preitner | 1025 | 2005
3688 | Stereo microscope | LEICA | MZ6 | Stereotactic surgery of mice | NO | NO | 0.63X (0.63X-4X) | Swingarm stand + Stereotactic frame | Frédéric Preitner | 1025 | ?
3896 | Upright microscope | OLYMPUS | BX51WI | Slice electrophysiology of mice brains | PHOTOMETRICS Evolve 512 | WIBA / WIGA | 4X / 20X / 40X | Anti-vibration table + Motorized micromanipulators | Gwenaël Labouebe | 5003 | 2010
4009 | Inverted microscope | LEICA | DM IRB HC | Cell culture | LEICA DFC 350 FX / LEICA DFC 3000 G | GFP / DsRed / DAPI | 2.5X / 5X / 10X / 20X / 40X | NO | Philippe L'Hôte | 4038 | 2003
4128 | Upright microscope | ZEISS | Axio Examiner D1 | Calcium imaging in drosophila embryo brains | Visitron Systems CoolSNAP HQ2 | GFP | 5X / 20X / 40X | Anti-vibration table + Odorized air flow controller | Benton's group | 2013 | 2013
4130 | Upright microscope | NIKON | Eclipse FN1 | Single sensillum recordings in drosophila | NO | NO | 10X / 100X | Anti-vibration table + Manual micromanipulators + Odorized air flow controller + 4 channel acquisition controller | Benton's group | 3008 | 2013
4132 | Stereo microscope | NIKON | SMZ645 | Microinjection and electrophysiology of Xenopus oocytes | NO | NO | 1X (0.8X-5X) | Manual micromanipulator + 8 channel flow controller + Low-noise data acquisition system + Two electrode voltage clamps system | Benton's group | 2013 | ?
4232 | Inverted microscope | EVOS | EVOS FL | Cell culture | Integrated | GFP / RFP / DAPI | 10X / 20X | Screen (No eyepiece) | Philippe L'Hôte | 4037 | 2014
4237 | Stereo microscope | NIKON | SMZ800 | Drosophila / Teaching | NO | NO | 1X (1X-6.3X) | Dual head | Benton's group | 3038 | 2010
4297 | Macroscope | LEICA | DMS1000 | iPS cells splitting | Integrated | NO | 1X (0.75X-6X) | Screen (No eyepiece) | Philippe L'Hôte | 4038 | 2016
4301 | Macroscope | LEICA | DMS300 | Microinjection / Mice surgery under P2 hood | Integrated | NO | 0.8X (0.75X-6X) | Screen (No eyepiece) + Micromanipulators with position sensors | Sophie Croisier | 1047.1 | 2016
4316 | Stereo microscope | LEICA | M205 FCA | Drosophila / Arabidopsis | LEICA DFC 7000 T | GFP / mCherry / DAPI | 1X (0.78X-16X) | CO2 pad for drosophila anesthesia + Light dome + Dual lighting (Top & bottom) | Martina Legris | 4003 | 2017
4350 | Upright microscope | ZEISS | Axio Imager M2 | General / High quality of image, close to the confocal quality | ZEISS AxioCam 702 mono | GFP / Cy3 / Cy5 / DAPI | 10X / 20X / 40X / 63X | Motorized stage / ApoTome | Sophie Croisier | 2013 | 2018
? | Upright microscope | SINGER INSTRUMENT | MSM series 200 System | Yeast tetrad dissection | ITACHI KP-140 | NO | 4X / 20X | NO | Maykel Lopes | 4033 | ?
? | Inverted microscope | LEICA | DM IL LED Fluo | Cell culture | NO | GFP / mCherry | 4X / 10X / 20X / 40X | NO | Michaël Wiederkehr | 3047 | 2019
4318/4319 | Stereo microscope | OLYMPUS | SZ51 | Mice surgery | NO | NO | 0.75X (0.8X-4X) | Swingarm stand | Yann Emmenegger | 3006 | 2010

## Microscopes 2021
Microscopes at CIG
Note 1 : This inventory lists both CIG common, and laboratory-specific microscopes. Please refer to specific access / training conditions, before using them.
Note 2: CIG users may find microscopes with other specificities at the Cell Imaging Facility in Genopode ( https://cif.unil.ch/dorigny-instruments/ ) or other institutes (https://cif.unil.ch/agora-instruments/ , https://cif.unil.ch/bugnon-instruments/ , https://cif.unil.ch/epalinges-instruments/ ).
ID | Type | Brand | Model | Domain of activity | Camera | Fluorescence | Lens | Specific equipement | Room | Year
1464 | Inverted microscope | ZEISS | Axiovert 200M | Cell culture | ZEISS AxioCam MRc / ZEISS AxioCam MRm | DAPI / FITC+YFP / Rhod / EGFP | 5X / 10X / 20X / 40X / 63X (x2) | Motorized stage | 5039 | 2002
1536 | Upright microscope | LEICA | DM LS2 | Histology / Teaching | NO | NO | 4X / 10X / 20X / 40X | Dual head | 2013 | 2004
1639 | Stereo microscope | LEICA | MZ6 | General | LEICA DFC 320 | NO | 1X (0.63X-4X) | NO | 5010 | 2005
1910 | Inverted microscope | ZEISS | Axiovert 40 CFL | Cell culture | NO | GFP / RFP | 10X / 20X / 40X | NO | 3046 | 2005
2019 | Inverted microscope | ZEISS | Axiovert 40 CFL | Cell culture | NO | GFP / RFP | 5X / 10X / 20X / 40X | NO | 4038 | 2005
2522 | Inverted microscope | LEICA | DMI6000 B | Microinjection of drosophila embryos | LEICA DFC 350 FX | BGR / CFP / YFP / GFP / BLU | 5X / 10X / 20X (x2) / 40X / 63X | Motorized micromanipulators + Microinjector + Motorized stage | 3008 | 2005
2526 | Inverted microscope | LEICA | DMI6000 B | Microinjection of drosophila embryos | KAPPA CF8/5 | GFP / L5 | 5X / 10X / 20X / 40X | Motorized micromanipulators + Microinjector + Motorized stage | 2013 | 2006
2528 | Stereo microscope | LEICA | MZ16 FA | General | LEICA DFC 300 FX | GFP2 / GFP3 => No UV lamp | 1X (0.71X-11.5X) | NO | 2013 | 2005
2702 | Upright microscope | LEICA | DM RXA2 | Mosaic microscopy of histologic slides | ITACHI HV-D20P | NO | 5X / 10X | Motorized stage | 2013 | 2006
2968 | Stereo microscope | WILD HEERBRUGG | M5 | General | NO | NO | 6X-50X | Swingarm stand | 2013 | 2006
3152 | Slide scanner | NIKON | Coolscope | Mosaic microscopy of histologic slides | Integrated | NO | 5X, 10X, 20X, 40X (on CCD) | NO | 5003.1 | 2005
3178 | Upright microscope | ZEISS | Axio Imager D1 | ICC / IHC / Histology | ZEISS AxioCam MRc / ZEISS AxioCam MRm | Rhod / FITC / Cy5 / DAPI | 10X / 20X / 40X (x2) / 63X / 100X | NO | 2013 | 2005
3216 | Stereo microscope | LEICA | MZ16 | Drosophila / General | LEICA DFC 320 => Not working | NO | 0.8X (0.71X-11.5X) | Dual lighting (Top & bottom) | 3008 | 2005
3266 | Stereo microscope | LEICA | MZ6 | Drosophila / General | NO | NO | 1X (0.63X-4X) | Dual lighting (Top & bottom) | 2013 | 2007
3552 | Upright microscope | ZEISS | Axio Imager M1 | ICC / IHC / Histology | ZEISS AxioCam MRc / ZEISS AxioCam MRm | Rhod / FITC / DAPI | 2.5X / 5X / 10X / 20X / 40X / 100X | Motorized stage | 2013 | 2006
3554 | Upright microscope | NIKON | ECLIPSE 90i | General / Quantification / Mosaic microscopy | NIKON DS-Fi1 | B-2A / G-2A / DAPI | 4X / 10X / 20X / 40X | Motorized stage | 2013 | 2006
3576 | Upright microscope | LEICA | DM1000 | General | LEICA DFC 295 | NO | 4X / 10X / 20X / 40X / 100X | Dual head | 5022 | 2006
3587 | inverted microscope | ZEISS |  | Cell culture | Axiovert 25 |  |  |  | 5039 | 2006
3598 | Stereo microscope | NIKON | SMZ1500 | Drosophila / Arabidopsis | NIKON D7000 | GFP | 1X (0.75X-11.25X) | CO2 pad for drosophila anesthesia | 4003.1 | 2006
3612 | Inverted microscope | ZEISS | Axiovert 40 CFL | Cell culture | NO | GFP / RFP | 5X / 10X / 20X / 40X | NO | 4037 | 2006
3628 | Upright microscope | LEICA | DM6000 B | General | LEICA DFC 350 FX | GFP / YFP / CFP / L5 / N3 / A4 / Y5 | 5X / 10X / 20X / 40X / 63X | Motorized stage | 4003.1 | 2005
3635 | Upright microscope | NIKON | Eclipse FN1 | Single sensillum recordings in drosophila | NO | NO | 10X / 100X | Anti-vibration table + Manual micromanipulators + Odorized air flow controller + 4 channel acquisition controller | 3008 | 2006
3649 | Stereo microscope | LEICA | MZFLIII | General | LEICA DFC 300 FX | GFP / DsRed / Texas Red | 1X (0.8X-10X) | NO | 5015 | 2006
3650 | Stereo microscope | LEICA | MZ95 | General | LEICA DFC 320 | NO | 0.5X (0.63X-6X) | NO | 2013 | 2006
3684 | Stereo microscope | LEICA | M60 | Mice surgery + Teaching | NO | NO | 1x (0.63X-4X) | Motorized stage + Dual head | 1025 | 2005
3688 | Stereo microscope | LEICA | MZ6 | Stereotactic surgery of mice | NO | NO | 0.63X (0.63X-4X) | Swingarm stand + Stereotactic frame | 1025 | ?
3896 | Upright microscope | OLYMPUS | BX51WI | Slice electrophysiology of mice brains | PHOTOMETRICS Evolve 512 | WIBA / WIGA | 4X / 20X / 40X | Anti-vibration table + Motorized micromanipulators | 5003 | 2010
4009 | Inverted microscope | LEICA | DM IRB HC | Cell culture | LEICA DFC 350 FX / LEICA DFC 3000 G | GFP / DsRed / DAPI | 2.5X / 5X / 10X / 20X / 40X | NO | 4038 | 2003
4128 | Upright microscope | ZEISS | Axio Examiner D1 | Calcium imaging in drosophila embryo brains | Visitron Systems CoolSNAP HQ2 | GFP | 5X / 20X / 40X | Anti-vibration table + Odorized air flow controller | 2013 | 2013
4130 | Upright microscope | NIKON | Eclipse FN1 | Single sensillum recordings in drosophila | NO | NO | 10X / 100X | Anti-vibration table + Manual micromanipulators + Odorized air flow controller + 4 channel acquisition controller | 3008 | 2013
4132 | Stereo microscope | NIKON | SMZ645 | Microinjection and electrophysiology of Xenopus oocytes | NO | NO | 1X (0.8X-5X) | Manual micromanipulator + 8 channel flow controller + Low-noise data acquisition system + Two electrode voltage clamps system | 2013 | ?
4232 | Inverted microscope | EVOS | EVOS FL | Cell culture | Integrated | GFP / RFP / DAPI | 10X / 20X | Screen (No eyepiece) | 4037 | 2014
4237 | Stereo microscope | NIKON | SMZ800 | Drosophila / Teaching | NO | NO | 1X (1X-6.3X) | Dual head | 3038 | 2010
4297 | Macroscope | LEICA | DMS1000 | iPS cells splitting | Integrated | NO | 1X (0.75X-6X) | Screen (No eyepiece) | 4038 | 2016
4301 | Macroscope | LEICA | DMS300 | Microinjection / Mice surgery under P2 hood | Integrated | NO | 0.8X (0.75X-6X) | Screen (No eyepiece) + Micromanipulators with position sensors | 1047.1 | 2016
4316 | Stereo microscope | LEICA | M205 FCA | Drosophila / Arabidopsis | LEICA DFC 7000 T | GFP / mCherry / DAPI | 1X (0.78X-16X) | CO2 pad for drosophila anesthesia + Light dome + Dual lighting (Top & bottom) | 4003 | 2017
4350 | Upright microscope | ZEISS | Axio Imager M2 | General / High quality of image, close to the confocal quality | ZEISS AxioCam 702 mono | GFP / Cy3 / Cy5 / DAPI | 10X / 20X / 40X / 63X | Motorized stage / ApoTome | 2013 | 2018
4393 | Inverted microscope | LEICA | DM IL LED Fluo | Cell culture | NO | GFP / mCherry | 4X / 10X / 20X / 40X | NO | 3047 | 2019
4319 | Stereo microscope | OLYMPUS | SZ51 | Mice surgery | NO | NO | 0.75X (0.8X-4X) | Swingarm stand | 3006 | 2010
4419 | inverted microscope | LEICA | DMi8 | Microinjection of drosophila embryos | NO | NO | 20X | Motorized micromanipulators + Microinjector + Motorized stage | 3008 | 2020
4425 | Upright microscope | SINGER INSTRUMENT | MSM series 200 System | Yeast tetrad dissection | ITACHI KP-140 | NO | 4X / 20X | NO | 5015 | 2021
4426 | Inverted microscope with airtable | NIKON | Eclipse Ti2-E with FRAP module | Yeast tetrad imaging | PHOTOMETRICS BSI express 95% QE |  | 20X / 60X / 100X | Photobleaching (FRAP): 488 laser Automation: XY motorized stage, Z-piezo Software: NIS-Elements, incl. Jobs modules for "smart" acquisition | 5015 | 2021
4428 | Inverted microscope | LEICA | DMi1 | Cell culture | Leica MC120 | NO | 5X / 10X / 20X | NO | 5038 | 2020